Demonstrator instructions for the Temtop Air Quality Sensor

Please review the device overview slides for basic use of the sensor.

Before the students are given devices for the lab, you should check that:

- Device appears to be in good physical shape (look it over carefully)

- Battery is full

- Measurement frequency is 1 minute

- Temperature units are Celsius in the “view all info” measurement summary screen.

- Measurement values seem reasonable, i.e., no clearly strange results are reported.

Your role is to help support students in:

- Using the sensor

- Think about what locations around campus they should explore

- Meaning of their measurements

Recommend students assign roles: measurement, navigation, recording.

Once the students return the device, check that:

- Device appears to be in good physical shape (look it over carefully)

  - Pay close attention to the air sampling entrances.

- Measurement values seem reasonable, i.e., no clearly strange results are reported.

  - Pay close attention to PM and HCHO values, as these sensors can become blind if exposed to high pollution levels.

- Download the data to the available computer.